GUIDE SPECIFICATIONS - SECTION 084329

SLIDING PATIO DOORS

Manko Window Systems Inc. 2200 SERIES

(OX, XO, OXO, OXXO)

SECTION 084329 SLIDING PATIO DOORS

PART 1	  GENERAL

1.01	SUMMARY

A. 	Section Includes:

1. 	All exterior patio doors furnished and installed as shown on drawings, specified in this section.

2. 	All labor, materials, tools, equipment and services needed to furnish and install Architectural patio doors.

3. 	Components furnished with installed patio doors.

4. 	Installation accessories furnished and installed.

5.    Single Source Requirement

a. 	All products listed in Section 08400; 08500; 08800; and 08900 shall be by the same manufacturer.

1.02	SYSTEM PERFORMANCE REQUIREMENTS

A. 	Test Units

1. 	Air test units shall be minimum size of 9’6” x 7’10”.

B. 	Test Procedures and Performances

1. 	Air Infiltration Test.

a. 	With operating door sash closed and locked, test unit in accordance with ASTM W 283 at a static air pressure difference of 6.24 psf.

b. 	Air infiltration shall not exceed .30 cfm/sf.

2. 	Water Test Performance Requirements

a.     No uncontrolled water leakage at:

i.   2200 Series; 12 psf

1.03	SUBMITTALS

A. 	General Requirements

1. 	Provide all submittals in a timely manner to meet the required construction completion schedule.

B. 	Shop Drawings

1. 	Shop drawings must be prepared wholly by the window manufacturer, or a qualified engineering services firm under the direction of the manufacturer.  Shop drawings for pre-engineered configurations may be prepared by installers authorized per 1.04 QUALITY ASSURANCE.

2. 	Provide design details along with bid proposals to define system aesthetic and functional characteristics.

3. 	Provide three photocopied sets of shop drawings, including half size details of all necessary conditions.

C. 	Samples

1. 	Components:  Submit samples of anchors, fasteners, hardware, assembled corner sections and other materials and components as requested by Architect.

2. 	Finish:  Submit color samples for Architect's approval as requested.

1.04	QUALITY ASSURANCE

A. 	Submit certified independent laboratory test reports verifying compliance with all test requirements of 1.02 System Performance Requirements as requested by architect.

B. 	Test reports shall be accompanied by the entrance door manufacturer’s letter of certification stating that the tested door meets or exceeds the referenced criteria for the appropriate AAMA door type.

C. 	Qualifications

1. 	Upon request, the window manufacturer will provide written confirmation that the installer is authorized to install window products to be used on this project.

1.05	DELIVERY, STORAGE AND HANDLING

A. 	Packing, Shipping, Handling and Unloading

1. 	Materials will be packed, loaded, shipped, unloaded, stored and protected in accordance with AAMA CW-10.

1.06	 WARRANTY

A. 	Aluminum Patio Door Warranty

1. 	Products:  Submit a written warranty, executed by the window manufacturer, for a period of 2 years (10 years for insulated glass seal failure) from the date of manufacture, against defective materials or workmanship, including substantial non-compliance with applicable specification requirements and industry standards, which results in premature failure of the windows, finish, factory-glazed glass, or parts, outside of normal wear.

a. 	In the event that windows or components are found defective, manufacturer will repair or provide replacements without charge at manufacturer’s option.

b. 	Warranty for all components must be direct from the manufacturer (non-pass through) and non-prorated for the entire term.  Warranty must be assignable to the non-residential owner, and transferable to subsequent owners through its length.

2. 	Installation:  Submit a written warranty, executed by the window installer, for a period of 2 years from the date of substantial completion, against defective materials or workmanship, including substantial non-compliance with applicable specification requirements, which result in premature failure.

a. 	In the event that installation of windows or components is found to be defective, installer will repair or provide replacements without charge at the installer’s option.

PART 2	  PRODUCTS

2.01	MANUFACTURERS

A. 	Acceptable Manufacturer

1.    Drawings and specifications are based on:

a.	Manko Window Systems, Inc. 2200 Series; SGD-AW60 AAMA rating

i. 	Base bid will be Manko Window Systems, Inc.

B. 	Substitutions

1. 	Other manufacturers’ products that meet or exceed specified design requirements may be considered.  Submit the following information with request for substitutions at least ten (10) working days prior to bid date.

a. 	Full proposal details and samples specified in 1.03 SUBMITTALS

b. 	Copy of manufacturer's warranty specified in 1.06 WARRANTY

c. 	Other information as requested for evaluation

2. 	Substitute products not pre-approved by the Architect via addenda will not be considered.

2.02	 MATERIALS

A. 	Aluminum Members

1. 	Extruded aluminum prime billet 6063-T5 or 6063-T6 alloy for primary components; 6063-T5, 6063-T6, or 6061-T6 for structural components; all meeting the requirements of ASTM B221.

2. 	Aluminum sheet alloy 5005 H 32 (for anodic finish), meeting the requirements of ASTM B209 or alloy 3003 H 14 (for painted or unfinished sheet).

2.03	MANUFACTURED UNITS

A. 	Materials

1. 	Principal door frame members will be a minimum 0.063" in thickness except at frame sills, which will be 0.093” minimum thickness.

2. 	Extruded trim components will be a minimum 0.062" in thickness.

B. 	Fabrication

1.  Frame dimensions shall be:

a.   2200 Series - 5-1/4”.

2.04	 COMPONENTS

A. 	All steel components including attachment fasteners to be 300 series stainless steel except as noted.

B.	Extruded aluminum components 6063-T5 or 6063-T6.

C.	Locking handles, cases and strikes to be die cast or stainless steel.

D.	Thermoplastic or thermo-set plastic caps, housings and other components to be injection-molded nylon, extruded PVC, or other suitable compound.

E.	Hardware:

1.	Rollers

a.   Tandem stainless steel 1-1/4” rollers.

b.   Field adjustable rollers.

c.   Stainless steel roller cap track.   (Optional)

2.   Locks

a.	Keyed latch lock.

3.   Pull Handles

a.	Pull latch lock shall be sturdy and reversible for installation on either hand of door, designed not to damage latch if moving panel is closed with latch in locking position, and shall meet AAMA Forced Entry Regulations 1303.5.

F. 	Sealants

1. 	All sealants shall comply with applicable provisions of AAMA 800 and/or Federal Specifications FS-TT-001 and 002 Series.

2. 	Frame joinery sealants shall be suitable for application specified and as tested and approved by door manufacturer.

G. 	Glass

1. 	Provide in general accordance with Section 08800.

2. 	Sealed insulated glass shall meet ASTM E774 Class A.

H. 	Glazing

1. 	Provide in general accordance with Section 08800.

2. 	Glazing method shall be in general accordance with the FGMA Glazing Manual for specified glass type, or as approved by the glass fabricator.

I. 	Glazing Materials

1. 	Setting Blocks/Edge Blocking:  Provide in sizes and locations recommended by FGMA Glazing Manual.

2. 	Back-bedding tapes, expanded cellular glazing tapes, toe beads, heel beads and cap beads shall meet the requirements of applicable specifications cited in AAMA 800.

3. 	Glazing gaskets shall be non-shrinking, weather-resistant, and compatible with all materials in contact.

4. 	Structural silicone sealant where used shall meet the requirements of ASTM C 1184.

5. 	Spacer tape in continuous contact with structural silicone shall be tested for compatibility and approved by the sealant manufacturer for the intended application.  Gaskets in continuous contact with structural silicone shall be extruded silicone or compatible material.

J. 	Steel Components

1. 	Provide steel reinforcements as necessary to meet the system performance requirements of 1.02.

2. 	Concealed steel anchors and reinforcing shall be factory painted after fabrication with rust-inhibitive primer complying with Federal Specification TT-P-645.

K. 	Thermal Break Construction:

1. 	Frame and door members must include a thermal break applied in the manufacturer’s facility, using concealed low conductance poured-in-place polyurethane in a pre-treated cavity.

2. 	After proper curing, the aluminum bridge section must be removed to provide a 3/16” separation between exterior and interior metal surfaces.

L. 	Weather Stripping:

1. 	Dual durometer PVC, neoprene, EPDM or other suitable material as tested and approved by the window manufacturer.

2.   Fixed meeting rail and moving panel bottom rail shall be dual weather-stripped using a combination of silicone treated poly-pile with a polyurethane fin.

3.   The fixed panel bottom rail is to be dual weather-stripped with a specially deigned vinyl equal to commercial standard CS-230-60.

4.   The frame head and jamb moving panel channel dual weather-stripped with a silicone treated poly-pile.

5.   Balance of fixed panel channel sealed with a specially designed vinyl equal to commercial standard SC 230-60.

M. 	Muntins: (Optional)

1. 	Provide muntin grids as shown on architectural drawings.

2. 	Finish to match window frames.

N. 	Insect Screens: (Optional)

1. 	Tubular extruded aluminum frames shall meet the requirements of ANSI/SMA 1004. Finish to match window frames.

2. 	Aluminum cloth shall comply with GSA-FS-RR-W-365 and USDC-CS-138 with 18 X 16 mesh. Cloth color shall be (Select one) charcoal grey or brite aluminum.

2.05		FABRICATION

A. 	General:

1.	Finish, fabricate and shop assemble frame and sash members into complete windows under the responsibility of one manufacturer.

2.	No bolts, screws or fastenings to bridge thermal barrier or impair independent frame movement.

3. 	Fabricate to allow for thermal movement of materials when subjected to a temperature differential from -30 degrees F to +180 degrees F.

B. 	Frames:

1. 	Cope and mechanically fasten each corner leaving only hairline joinery, then seal weather tight.

C. 	Main Sash Ventilator

1.	  Cope and mechanically fasten each corner leaving only hairline joinery, then seal weather tight.

D. 	Glass Drainage: (field glazed units only)

1. 	Provision shall be made to insure that water will not accumulate and remain in contact with the perimeter area of sealed insulated glass.

E. 	Tolerances

1. 	Reference to tolerances for wall thickness and other cross-sectional dimensions of entrance members are nominal and in compliance with the Aluminum Standards and Data.

2.06	FINISHES

A. 	Finish of Aluminum Components

1. 	Finish of all exposed areas of aluminum windows and components shall be done in accordance with the appropriate AAMA Voluntary Guide Specification shown (select from below).

Designation		Description	Standard 	Color

AAM12C21A31	Clear - Class II	AAMA 611	Clear

AAM12C21A41       	Clear - Class I    	AAMA 611         	Clear

AAM12C21A44	Electrolytically	AAMA 611	Champagne, Light Bronze,

Deposited – Class I         	Medium Bronze, Dark Bronze, Black

Organic Paint          AAMA 2603	As selected by Architect from manufacturer’s standard colors - Suitable for INTERIOR Finishes

Organic Paint          AAMA 2605	As selected by Architect from manufacturer’s (Specify) standard or custom colors - suitable for INTERIOR or EXTERIOR finishes

PART 3 EXECUTION

3.01	 EXAMINATION

A. 	Site Verification of Conditions

1. 	Verify that building substrates permit installation of windows according to the manufacturer's instructions, approved shop drawings, calculations and contract documents.

2. 	Do not install windows until unsatisfactory conditions are corrected.

3.02	 INSTALLATION

A. 	Erection of Patio Doors

1. 	Install patio doors with skilled tradesman in exact accordance with approved shop drawings, installation instructions, specifications, and AAMA 101/I.S.2.

2. 	Patio doors must be installed plumb, square and level for proper weathering and operation.  Main frames must not be “sprung”, bowed or warped during installation.

3. 	Aluminum that is not organically coated shall be insulated from direct contact with steel, masonry, concrete or other dissimilar metals by bituminous paint, zinc chromate primer, nonconductive shims or other suitable insulating material.

[DISCLAIMER:  Manko Window Systems, Inc. takes no responsibility for product selection or application, including, but not limited to, compliance with building codes, safety codes, laws, merchantability or fitness for a particular purpose, and further disclaims all liability for the use, in whole or in part, of these guide specifications in preparation of project specifications and/or other documents.  Guide specifications are subject to change at any time, without notice, and at Manko Window Systems, Inc. sole discretion.]

# Text boxes

2200 Series

Aluminum Sliding Patio Doors